## wwMeHg wy2016-17 Model Results
wwMeHg wy2016-2017 | [9 empty] | lowest, <25 | closest to 1
| <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.01 |  |  | 0 +/- 10 is best | > 0.5 |  | Minimum N = 20?
| Inlet wwMeHg | [14 empty] | slrose note:
| Number of Uncensored Observations: 32; Period of record: 2016-01-07 to 2017-04-26 | [8 empty] | Bias Diagnostic | [5 empty] | Warning applies to weekly sampling, but storm sampling isn't applicable. We have to ignore this with these models.
Model # | In_Q (p-value) | In_Q2 (p-value) | DECTIME (p-value) | DECTIME2 (p-value) | sin.DECTIME (p-value) | cos.DECTIME (p-value) | Overall p-value | R2 | Serial Correlation | Bp | E | Best Model Choice | Notes
1 | 0 | -- | -- | -- | -- | -- | <0.0001 | 89.8 | 0.2326 | 3.763 | 0.5663 | x | Warning message: | In loadReg(wwMeHg ~ model(1), data = wwMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
2 | 0 | 0.7922 | -- | -- | -- | -- | <0.0001 | 89.82 | 0.2553 | 5.666 | 0.5483 |  | Warning message: | In loadReg(wwMeHg ~ model(2), data = wwMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
3 | 0 | -- | 0.1987 | -- | -- | -- | <0.0001 | 90.31 | 0.1651 | 1.113 | 0.615 |  | Warning message: | In loadReg(wwMeHg ~ model(3), data = wwMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
4 | 0 | -- | -- | -- | 0.0989 | 0.0861 | <0.0001 | 90.72 | 0.2719 | 3.837 | 0.5406 | x | Warning message: | In loadReg(wwMeHg ~ model(4), data = wwMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
5 | 0 | 0.6736 | 0.1846 | -- | -- | -- | <0.0001 | 90.37 | 0.2015 | 3.978 | 0.5932 |  | Warning message: | In loadReg(wwMeHg ~ model(5), data = wwMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
6 | 0 | 0.5314 | -- | -- | 0.0861 | 0.0697 | <0.0001 | 90.83 | 0.3308 | 8.609 | 0.4678 |  | Warning message: | In loadReg(wwMeHg ~ model(6), data = wwMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
7 | 0 | -- | 0.0032 | -- | 0.0018 | 0.0019 | <0.0001 | 92.92 | 0.0243 | -0.2247 | 0.5323 | x | Warning message: | In loadReg(wwMeHg ~ model(7), data = wwMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
8 | 0 | 0.1351 | 0.0012 | -- | 0.0007 | 0.0006 | <0.0001 | 93.4 | 0.1366 | 9.991 | 0.2837 |  | Warning message: | In loadReg(wwMeHg ~ model(8), data = wwMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
9 | 0 | 0.1363 | 0.0026 | 0.9023 | 0.002 | 0.0011 | <0.0001 | 93.4 | 0.139 | 10.16 | 0.2896 |  | Warning message: | In loadReg(wwMeHg ~ model(9), data = wwMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
Spillway wwMeHg
| Number of Uncensored Observations: 23; Period of record: 2016-01-24 to 2017-04-04 | [8 empty] | Bias Diagnostic
Model # | In_Q (p-value) | In_Q2 (p-value) | DECTIME (p-value) | DECTIME2 (p-value) | sin.DECTIME (p-value) | cos.DECTIME (p-value) | Overall p-value | R2 | Serial Correlation | Bp | E | Best Model Choice | Notes
1 | 0 | -- | -- | -- | -- | -- | <0.0001 | 92.58 | 0.19 | -11.01 | 0.7551 |  | Warning message: | In loadReg(wwMeHg ~ model(1), data = wwMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
2 | 0 | 0.0003 | -- | -- | -- | -- | <0.0001 | 95.75 | 0.3176 | 6.918 | 0.7464 |  | Warning message: | In loadReg(wwMeHg ~ model(2), data = wwMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
3 | 0 | -- | 0.0565 | -- | -- | -- | <0.0001 | 93.67 | 0.1652 | -7.488 | 0.7661 |  | Warning message: | In loadReg(wwMeHg ~ model(3), data = wwMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
4 | 0 | -- | -- | -- | 0.0036 | 0.011 | <0.0001 | 95.04 | 0.0279 | -7.208 | 0.8384 | x | Warning message: | In loadReg(wwMeHg ~ model(4), data = wwMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
5 | 0 | 0.0022 | 0.6248 | -- | -- | -- | <0.0001 | 95.79 | 0.351 | 6.827 | 0.7483 |  | Warning message: | In loadReg(wwMeHg ~ model(5), data = wwMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
6 | 0 | 0.0001 | -- | -- | 0.0007 | 0.0017 | <0.0001 | 97.45 | -0.0234 | 7.773 | 0.7184 |  | Warning message: | In loadReg(wwMeHg ~ model(6), data = wwMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
7 | 0 | -- | 0.3094 | -- | 0.0101 | 0.017 | <0.0001 | 95.26 | 0.0204 | -7.29 | 0.858 |  | Warning message: | In loadReg(wwMeHg ~ model(7), data = wwMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
8 | 0 | 0.0001 | 0.439 | -- | 0.0005 | 0.0013 | <0.0001 | 97.52 | -0.1292 | 9.736 | 0.6508 |  | Warning message: | In loadReg(wwMeHg ~ model(8), data = wwMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
9 | 0 | 0 | 0.8707 | 0.068 | 0.0244 | 0.007 | <0.0001 | 97.85 | -0.0824 | 9.927 | 0.6611 |  | Warning message: | In loadReg(wwMeHg ~ model(9), data = wwMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
Outlet wwMeHg (Using Combined Outlet Inst.Flow for models only)
Bias Diagnostic
Model # | In_Q (p-value) | In_Q2 (p-value) | DECTIME (p-value) | DECTIME2 (p-value) | sin.DECTIME (p-value) | cos.DECTIME (p-value) | Overall p-value | R2 | Serial Correlation | Bp | E | Best Model Choice | Notes
1 | 0 | -- | -- | -- | -- | -- | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(1), data = wwMeHg_Outlet, flow = "Flow", dates = "Dates", : |  |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
2 | 0 |  | -- | -- | -- | -- | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(2), data = wwMeHg_Outlet, flow = "Flow", dates = "Dates", : |  |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
3 | 0 | -- |  | -- | -- | -- | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(3), data = wwMeHg_Outlet, flow = "Flow", dates = "Dates", : |  |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
4 | 0 | -- | -- | -- |  |  | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(4), data = wwMeHg_Outlet, flow = "Flow", dates = "Dates", : |  |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
5 | 0 |  |  | -- | -- | -- | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(5), data = wwMeHg_Outlet, flow = "Flow", dates = "Dates", : |  |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
6 | 0 |  | -- | -- |  |  | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(6), data = wwMeHg_Outlet, flow = "Flow", dates = "Dates", : |  |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
7 | 0 | -- |  | -- |  |  | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(7), data = wwMeHg_Outlet, flow = "Flow", dates = "Dates", : |  |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
8 | 0 |  |  | -- |  |  | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(8), data = wwMeHg_Outlet, flow = "Flow", dates = "Dates", : |  |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
9 | 0 | [5 empty] | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(9), data = wwMeHg_Outlet, flow = "Flow", dates = "Dates", : |  |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
Combined Outflow wwMeHg
Bias Diagnostic
Model # | In_Q (p-value) | In_Q2 (p-value) | DECTIME (p-value) | DECTIME2 (p-value) | sin.DECTIME (p-value) | cos.DECTIME (p-value) | Overall p-value | R2 | Serial Correlation | Bp | E | Best Model Choice | Notes
1 | 0 | -- | -- | -- | -- | -- | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(1), data = wwMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
2 | 0 |  | -- | -- | -- | -- | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(2), data = wwMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
3 | 0 | -- |  | -- | -- | -- | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(3), data = wwMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
4 | 0 | -- | -- | -- |  |  | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(4), data = wwMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
5 | 0 |  |  | -- | -- | -- | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(5), data = wwMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
6 | 0 |  | -- | -- |  |  | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(6), data = wwMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
7 | 0 | -- |  | -- |  |  | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(7), data = wwMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
8 | 0 |  |  | -- |  |  | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(8), data = wwMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
9 | 0 | [5 empty] | <0.0001 | [5 empty] | Warning message: | In loadReg(wwMeHg ~ model(9), data = wwMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
Rumsey wwMeHg
Bias Diagnostic
Model # | In_Q (p-value) | In_Q2 (p-value) | DECTIME (p-value) | DECTIME2 (p-value) | sin.DECTIME (p-value) | cos.DECTIME (p-value) | Overall p-value | R2 | Serial Correlation | Bp | E | Best Model Choice | Notes
1 | 0 | -- | -- | -- | -- | -- | <0.0001
2 | 0 |  | -- | -- | -- | -- | <0.0001
3 | 0 | -- |  | -- | -- | -- | <0.0001
4 | 0 | -- | -- | -- |  |  | <0.0001
5 | 0 |  |  | -- | -- | -- | <0.0001
6 | 0 |  | -- | -- |  |  | <0.0001
7 | 0 | -- |  | -- |  |  | <0.0001
8 | 0 |  |  | -- |  |  | <0.0001
9 | 0 | [5 empty] | <0.0001
Note on B18: Rose, Shanna Lynn: There were four censored values for this parameter, 19 uncensored. Used 0.05 ng/L (one-half of the MDL) in calculations for the constituent censored data in the text file. -12/3/18

## Inlet
> wwMeHg_Inletm1 <- loadReg(wwMeHg ~model(1), data = wwMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(1), data = wwMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Inletm1
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
wwMeHg ~ model(1)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -6.096 0.12611 -48.34 0
lnQ 1.290 0.07935 16.25 0
AMLE Regression Statistics
Residual variance: 0.4354
R-squared: 89.8 percent
G-squared: 73.05 on 1 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9496
p-value = 0.0088
Serial Correlation of Residuals: 0.2326
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.05 0.07 0.08
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 3.763 percent
PLR: 1.038
E: 0.5663
> wwMeHg_Inletm2 <- loadReg(wwMeHg ~model(2), data = wwMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(2), data = wwMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Inletm2
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
wwMeHg ~ model(2)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -6.12653 0.17695 -34.622 0.0000
lnQ 1.28959 0.08062 15.995 0.0000
lnQ2 0.01213 0.04832 0.251 0.7922
AMLE Regression Statistics
Residual variance: 0.4494
R-squared: 89.82 percent
G-squared: 73.12 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9491
p-value = 0.0084
Serial Correlation of Residuals: 0.2553
Variance Inflation Factors:
VIF
lnQ 1
lnQ2 1
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.05 0.07 0.09
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 5.666 percent
PLR: 1.057
E: 0.5483
> wwMeHg_Inletm3 <- loadReg(wwMeHg ~model(3), data = wwMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(3), data = wwMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Inletm3
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
wwMeHg ~ model(3)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -6.093 0.12502 -48.74 0.0000
lnQ 1.330 0.08506 15.63 0.0000
DECTIME -0.326 0.26300 -1.24 0.1987
AMLE Regression Statistics
Residual variance: 0.4277
R-squared: 90.31 percent
G-squared: 74.7 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9578
p-value = 0.0199
Serial Correlation of Residuals: 0.1651
Variance Inflation Factors:
VIF
lnQ 1.169
DECTIME 1.169
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.05 0.07 0.08
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 1.113 percent
PLR: 1.011
E: 0.615
> wwMeHg_Inletm4 <- loadReg(wwMeHg ~model(4), data = wwMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(4), data = wwMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Inletm4
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
wwMeHg ~ model(4)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -4.9596 0.69368 -7.150 0.0000
lnQ 1.3811 0.09614 14.366 0.0000
sin.DECTIME -0.9892 0.62724 -1.577 0.0989
cos.DECTIME -1.0608 0.64551 -1.643 0.0861
AMLE Regression Statistics
Residual variance: 0.4244
R-squared: 90.72 percent
G-squared: 76.07 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9404
p-value = 0.0038
Serial Correlation of Residuals: 0.2719
Variance Inflation Factors:
VIF
lnQ 1.506
sin.DECTIME 4.751
cos.DECTIME 4.570
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.05 0.07 0.10
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 3.837 percent
PLR: 1.038
E: 0.5406
> wwMeHg_Inletm5 <- loadReg(wwMeHg ~model(5), data = wwMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(5), data = wwMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Inletm5
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
wwMeHg ~ model(5)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -6.141 0.17559 -34.9748 0.0000
lnQ 1.331 0.08641 15.4062 0.0000
lnQ2 0.019 0.04815 0.3945 0.6736
DECTIME -0.338 0.26864 -1.2582 0.1846
AMLE Regression Statistics
Residual variance: 0.4406
R-squared: 90.37 percent
G-squared: 74.88 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9526
p-value = 0.0118
Serial Correlation of Residuals: 0.2015
Variance Inflation Factors:
VIF
lnQ 1.172
lnQ2 1.013
DECTIME 1.185
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.05 0.07 0.09
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 3.978 percent
PLR: 1.04
E: 0.5932
> wwMeHg_Inletm6 <- loadReg(wwMeHg ~model(6), data = wwMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(6), data = wwMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Inletm6
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
wwMeHg ~ model(6)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -4.95768 0.70211 -7.0611 0.0000
lnQ 1.38606 0.09769 14.1888 0.0000
lnQ2 0.02845 0.04933 0.5766 0.5314
sin.DECTIME -1.03096 0.63897 -1.6135 0.0861
cos.DECTIME -1.14365 0.66897 -1.7096 0.0697
AMLE Regression Statistics
Residual variance: 0.4348
R-squared: 90.83 percent
G-squared: 76.46 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9377
p-value = 0.003
Serial Correlation of Residuals: 0.3308
Variance Inflation Factors:
VIF
lnQ 1.517
lnQ2 1.077
sin.DECTIME 4.813
cos.DECTIME 4.791
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.05 0.08 0.11
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 8.609 percent
PLR: 1.086
E: 0.4678
> wwMeHg_Inletm7 <- loadReg(wwMeHg ~model(7), data = wwMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(7), data = wwMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Inletm7
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
wwMeHg ~ model(7)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.8062 0.7338 -5.187 0.0000
lnQ 1.5778 0.1091 14.463 0.0000
DECTIME -0.8152 0.2810 -2.902 0.0032
sin.DECTIME -2.0794 0.6724 -3.092 0.0018
cos.DECTIME -2.0748 0.6720 -3.088 0.0019
AMLE Regression Statistics
Residual variance: 0.3355
R-squared: 92.92 percent
G-squared: 84.75 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9538
p-value = 0.0133
Serial Correlation of Residuals: 0.0243
Variance Inflation Factors:
VIF
lnQ 2.452
DECTIME 1.701
sin.DECTIME 6.907
cos.DECTIME 6.264
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.03 0.08 0.10
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: -0.2247 percent
PLR: 0.9978
E: 0.5323
> wwMeHg_Inletm8 <- loadReg(wwMeHg ~model(8), data = wwMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(8), data = wwMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Inletm8
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
wwMeHg ~ model(8)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.67731 0.72820 -5.050 0.0000
lnQ 1.60952 0.10983 14.655 0.0000
lnQ2 0.06002 0.04379 1.371 0.1351
DECTIME -0.90339 0.28387 -3.182 0.0012
sin.DECTIME -2.28536 0.67860 -3.368 0.0007
cos.DECTIME -2.35938 0.69310 -3.404 0.0006
AMLE Regression Statistics
Residual variance: 0.3249
R-squared: 93.4 percent
G-squared: 86.99 on 5 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9383
p-value = 0.0031
Serial Correlation of Residuals: 0.1366
Variance Inflation Factors:
VIF
lnQ 2.567
lnQ2 1.136
DECTIME 1.793
sin.DECTIME 7.263
cos.DECTIME 6.881
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.04 0.09 0.14
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 9.991 percent
PLR: 1.1
E: 0.2837
> wwMeHg_Inletm9 <- loadReg(wwMeHg ~model(9), data = wwMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(9), data = wwMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Inletm9
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
wwMeHg ~ model(9)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.67162 0.74430 -4.9330 0.0000
lnQ 1.60191 0.13212 12.1245 0.0000
lnQ2 0.05986 0.04467 1.3400 0.1363
DECTIME -0.89084 0.31164 -2.8585 0.0026
DECTIME2 -0.14753 1.35909 -0.1086 0.9023
sin.DECTIME -2.25034 0.76342 -2.9477 0.0020
cos.DECTIME -2.33556 0.73995 -3.1564 0.0011
AMLE Regression Statistics
Residual variance: 0.3378
R-squared: 93.4 percent
G-squared: 87 on 6 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9391
p-value = 0.0033
Serial Correlation of Residuals: 0.139
Variance Inflation Factors:
VIF
lnQ 3.573
lnQ2 1.137
DECTIME 2.079
DECTIME2 1.518
sin.DECTIME 8.843
cos.DECTIME 7.545
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.04 0.09 0.14
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 10.16 percent
PLR: 1.102
E: 0.2896

## Spillway
> wwMeHg_Spillwaym1 <- loadReg(wwMeHg ~model(1), data = wwMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(1), data = wwMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Spillwaym1
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
wwMeHg ~ model(1)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.346 0.15587 -47.13 0
lnQ 1.205 0.07445 16.19 0
AMLE Regression Statistics
Residual variance: 0.3784
R-squared: 92.58 percent
G-squared: 59.83 on 1 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9882
p-value = 0.7549
Serial Correlation of Residuals: 0.19
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.02 0.02 0.02 0.02
Obs 0 0 0 0.02 0.02 0.03 0.04
Bias Diagnostics
----------------
Bp: -11.01 percent
PLR: 0.8899
E: 0.7551
> wwMeHg_Spillwaym2 <- loadReg(wwMeHg ~model(2), data = wwMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(2), data = wwMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Spillwaym2
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
wwMeHg ~ model(2)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.9364 0.19502 -40.695 0e+00
lnQ 1.2053 0.05775 20.871 0e+00
lnQ2 0.1348 0.03492 3.861 3e-04
AMLE Regression Statistics
Residual variance: 0.2276
R-squared: 95.75 percent
G-squared: 72.64 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9815
p-value = 0.455
Serial Correlation of Residuals: 0.3176
Variance Inflation Factors:
VIF
lnQ 1
lnQ2 1
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.02 0.03 0.04 0.04
Obs 0 0 0 0.02 0.02 0.03 0.04
Bias Diagnostics
----------------
Bp: 6.918 percent
PLR: 1.069
E: 0.7464
> wwMeHg_Spillwaym3 <- loadReg(wwMeHg ~model(3), data = wwMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(3), data = wwMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Spillwaym3
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
wwMeHg ~ model(3)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.3866 0.14923 -49.499 0.0000
lnQ 1.1590 0.07479 15.498 0.0000
DECTIME 0.5682 0.30695 1.851 0.0565
AMLE Regression Statistics
Residual variance: 0.3392
R-squared: 93.67 percent
G-squared: 63.46 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9555
p-value = 0.0473
Serial Correlation of Residuals: 0.1652
Variance Inflation Factors:
VIF
lnQ 1.126
DECTIME 1.126
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.02 0.02 0.03
Obs 0 0 0.00 0.02 0.02 0.03 0.04
Bias Diagnostics
----------------
Bp: -7.488 percent
PLR: 0.9251
E: 0.7661
> wwMeHg_Spillwaym4 <- loadReg(wwMeHg ~model(4), data = wwMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(4), data = wwMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Spillwaym4
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
wwMeHg ~ model(4)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.353 1.4682 -2.284 0.0182
lnQ 1.276 0.0777 16.422 0.0000
sin.DECTIME -3.440 1.1813 -2.912 0.0036
cos.DECTIME -3.089 1.2437 -2.484 0.0110
AMLE Regression Statistics
Residual variance: 0.2795
R-squared: 95.04 percent
G-squared: 69.1 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9909
p-value = 0.8751
Serial Correlation of Residuals: 0.0279
Variance Inflation Factors:
VIF
lnQ 1.475
sin.DECTIME 11.839
cos.DECTIME 13.239
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.04 0.04
Obs 0 0 0 0.02 0.02 0.03 0.04
Bias Diagnostics
----------------
Bp: -7.208 percent
PLR: 0.9279
E: 0.8384
> wwMeHg_Spillwaym5 <- loadReg(wwMeHg ~model(5), data = wwMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(5), data = wwMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Spillwaym5
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
wwMeHg ~ model(5)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.9076 0.20933 -37.7758 0.0000
lnQ 1.1946 0.06358 18.7907 0.0000
lnQ2 0.1261 0.04068 3.0998 0.0022
DECTIME 0.1306 0.29291 0.4457 0.6248
AMLE Regression Statistics
Residual variance: 0.2371
R-squared: 95.79 percent
G-squared: 72.88 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9846
p-value = 0.5845
Serial Correlation of Residuals: 0.351
Variance Inflation Factors:
VIF
lnQ 1.163
lnQ2 1.303
DECTIME 1.466
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.02 0.03 0.03 0.04
Obs 0 0 0 0.02 0.02 0.03 0.04
Bias Diagnostics
----------------
Bp: 6.827 percent
PLR: 1.068
E: 0.7483
> wwMeHg_Spillwaym6 <- loadReg(wwMeHg ~model(6), data = wwMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(6), data = wwMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Spillwaym6
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
wwMeHg ~ model(6)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -4.3044 1.10554 -3.894 0.0002
lnQ 1.2778 0.05723 22.330 0.0000
lnQ2 0.1201 0.02910 4.127 0.0001
sin.DECTIME -3.0007 0.87648 -3.424 0.0007
cos.DECTIME -2.8379 0.91795 -3.092 0.0017
AMLE Regression Statistics
Residual variance: 0.1516
R-squared: 97.45 percent
G-squared: 84.41 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9829
p-value = 0.5128
Serial Correlation of Residuals: -0.0234
Variance Inflation Factors:
VIF
lnQ 1.475
lnQ2 1.043
sin.DECTIME 12.016
cos.DECTIME 13.297
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.02 0.02 0.05 0.05
Obs 0 0 0 0.02 0.02 0.03 0.04
Bias Diagnostics
----------------
Bp: 7.773 percent
PLR: 1.078
E: 0.7184
> wwMeHg_Spillwaym7 <- loadReg(wwMeHg ~model(7), data = wwMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(7), data = wwMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Spillwaym7
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
wwMeHg ~ model(7)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.738 1.53461 -2.4360 0.0105
lnQ 1.253 0.08209 15.2623 0.0000
DECTIME 0.290 0.31892 0.9094 0.3094
sin.DECTIME -3.072 1.25398 -2.4495 0.0101
cos.DECTIME -2.865 1.27352 -2.2498 0.0170
AMLE Regression Statistics
Residual variance: 0.2821
R-squared: 95.26 percent
G-squared: 70.13 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.974
p-value = 0.2355
Serial Correlation of Residuals: 0.0204
Variance Inflation Factors:
VIF
lnQ 1.631
DECTIME 1.461
sin.DECTIME 13.218
cos.DECTIME 13.755
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.04 0.04
Obs 0 0 0 0.02 0.02 0.03 0.04
Bias Diagnostics
----------------
Bp: -7.29 percent
PLR: 0.9271
E: 0.858
> wwMeHg_Spillwaym8 <- loadReg(wwMeHg ~model(8), data = wwMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(8), data = wwMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Spillwaym8
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
wwMeHg ~ model(8)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -4.1466 1.14734 -3.6141 0.0003
lnQ 1.2922 0.06193 20.8637 0.0000
lnQ2 0.1300 0.03306 3.9329 0.0001
DECTIME -0.1779 0.26560 -0.6696 0.4390
sin.DECTIME -3.1904 0.93417 -3.4152 0.0005
cos.DECTIME -2.9546 0.94851 -3.1150 0.0013
AMLE Regression Statistics
Residual variance: 0.1564
R-squared: 97.52 percent
G-squared: 85.01 on 5 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9867
p-value = 0.6813
Serial Correlation of Residuals: -0.1292
Variance Inflation Factors:
VIF
lnQ 1.674
lnQ2 1.305
DECTIME 1.828
sin.DECTIME 13.232
cos.DECTIME 13.763
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.02 0.02 0.05 0.06
Obs 0 0 0 0.02 0.02 0.03 0.04
Bias Diagnostics
----------------
Bp: 9.736 percent
PLR: 1.097
E: 0.6508
> wwMeHg_Spillwaym9 <- loadReg(wwMeHg ~model(9), data = wwMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(wwMeHg ~ model(9), data = wwMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwMeHg_Spillwaym9
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: wwMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
wwMeHg ~ model(9)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -4.30578 1.10468 -3.8978 0.0001
lnQ 1.19795 0.08419 14.2298 0.0000
lnQ2 0.15979 0.03689 4.3322 0.0000
DECTIME 0.03931 0.28943 0.1358 0.8707
DECTIME2 -4.20016 2.66039 -1.5788 0.0680
sin.DECTIME -2.18311 1.09967 -1.9852 0.0244
cos.DECTIME -2.38738 0.97784 -2.4415 0.0070
AMLE Regression Statistics
Residual variance: 0.1438
R-squared: 97.85 percent
G-squared: 88.34 on 6 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9579
p-value = 0.0577
Serial Correlation of Residuals: -0.0824
Variance Inflation Factors:
VIF
lnQ 3.365
lnQ2 1.767
DECTIME 2.361
DECTIME2 4.110
sin.DECTIME 19.946
cos.DECTIME 15.911
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.02 0.02 0.05 0.05
Obs 0 0 0 0.02 0.02 0.03 0.04
Bias Diagnostics
----------------
Bp: 9.927 percent
PLR: 1.099
E: 0.6611