## pMeHg wy2016-17 Model Results
pMeHg wy2016-2017 | [9 empty] | lowest, <25 | closest to 1
| <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.01 |  |  | 0 +/- 10 is best | > 0.5 |  | Minimum N = 20?
| Inlet pMeHg | [14 empty] | slrose note:
| Number of Uncensored Observations: 32; Period of record: 2016-01-07 to 2017-04-26 | [8 empty] | Bias Diagnostic | [5 empty] | Warning applies to weekly sampling, but storm sampling isn't applicable. We have to ignore this with these models.
Model # | In_Q (p-value) | In_Q2 (p-value) | DECTIME (p-value) | DECTIME2 (p-value) | sin.DECTIME (p-value) | cos.DECTIME (p-value) | Overall p-value | R2 | Serial Correlation | Bp | E | Best Model Choice | Notes
1 | 0 | -- | -- | -- | -- | -- | <0.0001 | 89.53 | 0.2114 | 5.174 | 0.5457 | x- cna selected | Warning message: | In loadReg(pMeHg ~ model(1), data = pMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
2 | 0 | 0.7872 | -- | -- | -- | -- | <0.0001 | 89.55 | 0.2341 | 7.262 | 0.5238 |  | Warning message: | In loadReg(pMeHg ~ model(2), data = pMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
3 | 0 | -- | 0.1912 | -- | -- | -- | <0.0001 | 90.07 | 0.1398 | 2.241 | 0.5999 | x | Warning message: | In loadReg(pMeHg ~ model(3), data = pMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
4 | 0 | -- | -- | -- | 0.1047 | 0.0976 | <0.0001 | 90.42 | 0.2514 | 5.52 | 0.5106 | x | Warning message: | In loadReg(pMeHg ~ model(4), data = pMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
5 | 0 | 0.6667 | 0.1772 | -- | -- | -- | <0.0001 | 90.13 | 0.1757 | 5.372 | 0.5729 |  | Warning message: | In loadReg(pMeHg ~ model(5), data = pMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
6 | 0 | 0.5432 | -- | -- | 0.0917 | 0.08 | <0.0001 | 90.53 | 0.3077 | 10.52 | 0.4271 |  | Warning message: | In loadReg(pMeHg ~ model(6), data = pMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
7 | 0 | -- | 0.0032 | -- | 0.002 | 0.0022 | <0.0001 | 92.7 | 0.0002 | 1.091 | 0.4969 |  | Warning message: | In loadReg(pMeHg ~ model(7), data = pMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
8 | 0 | 0.141 | 0.0012 | -- | 0.0007 | 0.0007 | <0.0001 | 93.18 | 0.1078 | 12 | 0.2068 |  | Warning message: | In loadReg(pMeHg ~ model(8), data = pMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
9 | 0 | 0.1424 | 0.0028 | 0.879 | 0.0023 | 0.0013 | <0.0001 | 93.18 | 0.11 | 12.13 | 0.2163 |  | Warning message: | In loadReg(pMeHg ~ model(9), data = pMeHg_Inlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
Spillway pMeHg
| Number of Uncensored Observations: 23; Period of record: 2016-01-24 to 2017-04-04 | [8 empty] | Bias Diagnostic
Model # | In_Q (p-value) | In_Q2 (p-value) | DECTIME (p-value) | DECTIME2 (p-value) | sin.DECTIME (p-value) | cos.DECTIME (p-value) | Overall p-value | R2 | Serial Correlation | Bp | E | Best Model Choice | Notes
1 | 0 | -- | -- | -- | -- | -- | <0.0001 | 91.13 | 0.2036 | -8.877 | 0.7565 |  | Warning message: | In loadReg(pMeHg ~ model(1), data = pMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
2 | 0 | 0.0005 | -- | -- | -- | -- | <0.0001 | 94.77 | 0.2582 | 14.07 | 0.6558 |  | Warning message: | In loadReg(pMeHg ~ model(2), data = pMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
3 | 0 | -- | 0.0113 | -- | -- | -- | <0.0001 | 93.29 | 0.1389 | -4.511 | 0.7548 |  | Warning message: | In loadReg(pMeHg ~ model(3), data = pMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
4 | 0 | -- | -- | -- | 0.0012 | 0.0046 | <0.0001 | 94.6 | 0.0092 | -2.682 | 0.7706 | x | Warning message: | In loadReg(pMeHg ~ model(4), data = pMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
5 | 0 | 0.006 | 0.1796 | -- | -- | -- | <0.0001 | 95.17 | 0.3326 | 12 | 0.6814 |  | Warning message: | In loadReg(pMeHg ~ model(5), data = pMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
6 | 0 | 0.0001 | -- | -- | 0.0001 | 0.0005 | <0.0001 | 97.26 | -0.1892 | 16.6 | 0.413 |  | Warning message: | In loadReg(pMeHg ~ model(6), data = pMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
7 | 0 | -- | 0.0812 | -- | 0.0047 | 0.0075 | <0.0001 | 95.26 | -0.0423 | -4.597 | 0.8438 | x | Warning message: | In loadReg(pMeHg ~ model(7), data = pMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
8 | 0 | 0.0004 | 0.7782 | -- | 0.0003 | 0.0006 | <0.0001 | 97.27 | -0.159 | 15.62 | 0.4682 |  | Warning message: | In loadReg(pMeHg ~ model(8), data = pMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
9 | 0 | 0.0001 | 0.226 | 0.0523 | 0.0169 | 0.0035 | <0.0001 | 97.68 | -0.139 | 15.54 | 0.493 |  | Warning message: | In loadReg(pMeHg ~ model(9), data = pMeHg_Spillway, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
Outlet pMeHg (Using Combined Outlet Inst.Flow for models only)
| Number of Uncensored Observations: 29; Period of record: 2016-01-20 to 2017-04-26 | [8 empty] | Bias Diagnostic
Model # | In_Q (p-value) | In_Q2 (p-value) | DECTIME (p-value) | DECTIME2 (p-value) | sin.DECTIME (p-value) | cos.DECTIME (p-value) | Overall p-value | R2 | Serial Correlation | Bp | E | Best Model Choice | Notes
1 | 0 | -- | -- | -- | -- | -- | <0.0001 | 89.11 | 0.4013 | -30.56 | 0.6373 |  | Warning message: | In loadReg(pMeHg ~ model(1), data = pMeHg_Outlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
2 | 0 | 0.0011 | -- | -- | -- | -- | <0.0001 | 92.47 | 0.28 | -4.094 | 0.845 | x | Warning message: | In loadReg(pMeHg ~ model(2), data = pMeHg_Outlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
3 | 0 | -- | 0.0411 | -- | -- | -- | <0.0001 | 90.57 | 0.2588 | -19.58 | 0.7387 |  | Warning message: | In loadReg(pMeHg ~ model(3), data = pMeHg_Outlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
4 | 0 | -- | -- | -- | 0.0539 | 0.2997 | <0.0001 | 90.79 | 0.2381 | -18.38 | 0.8602 |  | Warning message: | In loadReg(pMeHg ~ model(4), data = pMeHg_Outlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
5 | 0 | 0.007 | 0.3948 | -- | -- | -- | <0.0001 | 92.66 | 0.246 | -1.277 | 0.8474 |  | Warning message: | In loadReg(pMeHg ~ model(5), data = pMeHg_Outlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
6 | 0 | 0.0035 | -- | -- | 0.1033 | 0.21 | <0.0001 | 93.14 | 0.2781 | 0.8986 | 0.9368 |  | Warning message: | In loadReg(pMeHg ~ model(6), data = pMeHg_Outlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
7 | 0 | -- | 0.295 | -- | 0.4162 | 0.7999 | <0.0001 | 91.13 | 0.1933 | -14.3 | 0.8594 |  | Warning message: | In loadReg(pMeHg ~ model(7), data = pMeHg_Outlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
8 | 0 | 0.0061 | 0.8008 | -- | 0.1627 | 0.2566 | <0.0001 | 93.15 | 0.2938 | 0.7078 | 0.9437 |  | Warning message: | In loadReg(pMeHg ~ model(8), data = pMeHg_Outlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
9 | 0 | 0.0216 | 0.9207 | 0.8297 | 0.2898 | 0.3469 | <0.0001 | 93.16 | 0.2823 | 0.5537 | 0.9405 |  | Warning message: | In loadReg(pMeHg ~ model(9), data = pMeHg_Outlet, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
Combined Outflow pMeHg
| Number of Uncensored Observations: 34; Period of record: 2016-01-20 to 2017-04-26 | [8 empty] | Bias Diagnostic
Model # | In_Q (p-value) | In_Q2 (p-value) | DECTIME (p-value) | DECTIME2 (p-value) | sin.DECTIME (p-value) | cos.DECTIME (p-value) | Overall p-value | R2 | Serial Correlation | Bp | E | Best Model Choice | Notes
1 | 0 | -- | -- | -- | -- | -- | <0.0001 | 89.66 | 0.3103 | -0.6397 | 0.8053 | x | Warning message: | In loadReg(pMeHg ~ model(1), data = pMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
2 | 0 | 0.991 | -- | -- | -- | -- | <0.0001 | 89.66 | 0.3105 | -0.7838 | 0.8047 |  | Warning message: | In loadReg(pMeHg ~ model(2), data = pMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
3 | 0 | -- | 0.405 | -- | -- | -- | <0.0001 | 89.87 | 0.273 | 1.818 | 0.809 |  | Warning message: | In loadReg(pMeHg ~ model(3), data = pMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
4 | 0 | -- | -- | -- | 0.0737 | 0.1841 | <0.0001 | 90.64 | 0.2645 | 3.892 | 0.8821 |  | Warning message: | In loadReg(pMeHg ~ model(4), data = pMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
5 | 0 | 0.7538 | 0.3736 | -- | -- | -- | <0.0001 | 89.9 | 0.2705 | -0.4864 | 0.8016 |  | Warning message: | In loadReg(pMeHg ~ model(5), data = pMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
6 | 0 | 0.458 | -- | -- | 0.0542 | 0.1818 | <0.0001 | 90.79 | 0.2455 | -0.987 | 0.8766 |  | Warning message: | In loadReg(pMeHg ~ model(6), data = pMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
7 | 0 | -- | 0.5996 | -- | 0.0921 | 0.1652 | <0.0001 | 90.72 | 0.282 | 3.705 | 0.8873 |  | Warning message: | In loadReg(pMeHg ~ model(7), data = pMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
8 | 0 | 0.5167 | 0.7031 | -- | 0.083 | 0.1914 | <0.0001 | 90.83 | 0.2624 | -0.5409 | 0.8822 |  | Warning message: | In loadReg(pMeHg ~ model(8), data = pMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
9 | 0 | 0.4721 | 0.6009 | 0.6972 | 0.097 | 0.1736 | <0.0001 | 90.87 | 0.2646 | 0.5166 | 0.8864 |  | Warning message: | In loadReg(pMeHg ~ model(9), data = pMeHg_Combined, flow = "Flow", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
Rumsey pMeHg
Bias Diagnostic
Model # | In_Q (p-value) | In_Q2 (p-value) | DECTIME (p-value) | DECTIME2 (p-value) | sin.DECTIME (p-value) | cos.DECTIME (p-value) | Overall p-value | R2 | Serial Correlation | Bp | E | Best Model Choice | Notes
1 | 0 | -- | -- | -- | -- | -- | <0.0001
2 | 0 |  | -- | -- | -- | -- | <0.0001
3 | 0 | -- |  | -- | -- | -- | <0.0001
4 | 0 | -- | -- | -- |  |  | <0.0001
5 | 0 |  |  | -- | -- | -- | <0.0001
6 | 0 |  | -- | -- |  |  | <0.0001
7 | 0 | -- |  | -- |  |  | <0.0001
8 | 0 |  |  | -- |  |  | <0.0001
9 | 0 | [5 empty] | <0.0001
Note on B18: Rose, Shanna Lynn: There are 4 censored values for this parameter. Used one-half of the MDL (0.10 ng/L, so 0.05 ng/L for censored) in the data calculations for the constituent text file. -12/2/18
Note on B31: Rose, Shanna Lynn: There are 2 censored values for this parameter. Used one-half of the MDL (0.10 ng/L, so 0.05 ng/L for censored) in the data calculations for the constituent text file. -12/3/18
Note on B44: Rose, Shanna Lynn: There are 5 censored values for this parameter. Used one-half of the MDL (0.10 ng/L, so 0.05 ng/L for censored) in the data calculations for the constituent text file. -12/3/18

## Inlet
> pMeHg_Inletm1 <- loadReg(pMeHg ~model(1), data = pMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(1), data = pMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Inletm1
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(1)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -6.182 0.13094 -47.21 0
lnQ 1.319 0.08239 16.01 0
AMLE Regression Statistics
Residual variance: 0.4693
R-squared: 89.53 percent
G-squared: 72.2 on 1 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9501
p-value = 0.0092
Serial Correlation of Residuals: 0.2114
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.05 0.07 0.08
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 5.174 percent
PLR: 1.052
E: 0.5457
> pMeHg_Inletm2 <- loadReg(pMeHg ~model(2), data = pMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(2), data = pMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Inletm2
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(2)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -6.2145 0.18371 -33.8276 0.0000
lnQ 1.3194 0.08370 15.7627 0.0000
lnQ2 0.0129 0.05017 0.2571 0.7872
AMLE Regression Statistics
Residual variance: 0.4844
R-squared: 89.55 percent
G-squared: 72.28 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.951
p-value = 0.0101
Serial Correlation of Residuals: 0.2341
Variance Inflation Factors:
VIF
lnQ 1
lnQ2 1
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.05 0.07 0.09
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 7.262 percent
PLR: 1.073
E: 0.5238
> pMeHg_Inletm3 <- loadReg(pMeHg ~model(3), data = pMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(3), data = pMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Inletm3
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(3)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -6.179 0.12969 -47.648 0.0000
lnQ 1.362 0.08824 15.433 0.0000
DECTIME -0.344 0.27282 -1.261 0.1912
AMLE Regression Statistics
Residual variance: 0.4603
R-squared: 90.07 percent
G-squared: 73.91 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9594
p-value = 0.0236
Serial Correlation of Residuals: 0.1398
Variance Inflation Factors:
VIF
lnQ 1.169
DECTIME 1.169
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.05 0.07 0.08
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 2.241 percent
PLR: 1.022
E: 0.5999
> pMeHg_Inletm4 <- loadReg(pMeHg ~model(4), data = pMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(4), data = pMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Inletm4
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(4)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -5.034 0.7221 -6.971 0.0000
lnQ 1.412 0.1001 14.113 0.0000
sin.DECTIME -1.012 0.6529 -1.550 0.1047
cos.DECTIME -1.064 0.6720 -1.583 0.0976
AMLE Regression Statistics
Residual variance: 0.4599
R-squared: 90.42 percent
G-squared: 75.06 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9397
p-value = 0.0035
Serial Correlation of Residuals: 0.2514
Variance Inflation Factors:
VIF
lnQ 1.506
sin.DECTIME 4.751
cos.DECTIME 4.570
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.05 0.07 0.10
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 5.52 percent
PLR: 1.055
E: 0.5106
> pMeHg_Inletm5 <- loadReg(pMeHg ~model(5), data = pMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(5), data = pMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Inletm5
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(5)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -6.23007 0.18212 -34.2077 0.0000
lnQ 1.36332 0.08962 15.2118 0.0000
lnQ2 0.02015 0.04994 0.4034 0.6667
DECTIME -0.35676 0.27864 -1.2804 0.1772
AMLE Regression Statistics
Residual variance: 0.4739
R-squared: 90.13 percent
G-squared: 74.1 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9556
p-value = 0.0159
Serial Correlation of Residuals: 0.1757
Variance Inflation Factors:
VIF
lnQ 1.172
lnQ2 1.013
DECTIME 1.185
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.05 0.07 0.09
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 5.372 percent
PLR: 1.054
E: 0.5729
> pMeHg_Inletm6 <- loadReg(pMeHg ~model(6), data = pMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(6), data = pMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Inletm6
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(6)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -5.03206 0.73114 -6.883 0.0000
lnQ 1.41739 0.10173 13.933 0.0000
lnQ2 0.02877 0.05137 0.560 0.5432
sin.DECTIME -1.05402 0.66538 -1.584 0.0917
cos.DECTIME -1.14775 0.69663 -1.648 0.0800
AMLE Regression Statistics
Residual variance: 0.4715
R-squared: 90.53 percent
G-squared: 75.43 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9382
p-value = 0.0031
Serial Correlation of Residuals: 0.3077
Variance Inflation Factors:
VIF
lnQ 1.517
lnQ2 1.077
sin.DECTIME 4.813
cos.DECTIME 4.791
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.05 0.08 0.11
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 10.52 percent
PLR: 1.105
E: 0.4271
> pMeHg_Inletm7 <- loadReg(pMeHg ~model(7), data = pMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(7), data = pMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Inletm7
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(7)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.8334 0.7639 -5.019 0.0000
lnQ 1.6171 0.1136 14.239 0.0000
DECTIME -0.8486 0.2925 -2.901 0.0032
sin.DECTIME -2.1466 0.7000 -3.066 0.0020
cos.DECTIME -2.1194 0.6995 -3.030 0.0022
AMLE Regression Statistics
Residual variance: 0.3636
R-squared: 92.7 percent
G-squared: 83.74 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9576
p-value = 0.0196
Serial Correlation of Residuals: 2e-04
Variance Inflation Factors:
VIF
lnQ 2.452
DECTIME 1.701
sin.DECTIME 6.907
cos.DECTIME 6.264
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.03 0.08 0.11
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 1.091 percent
PLR: 1.011
E: 0.4969
> pMeHg_Inletm8 <- loadReg(pMeHg ~model(8), data = pMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(8), data = pMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Inletm8
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(8)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.70118 0.75885 -4.877 0.0000
lnQ 1.64967 0.11445 14.414 0.0000
lnQ2 0.06159 0.04563 1.350 0.1410
DECTIME -0.93903 0.29582 -3.174 0.0012
sin.DECTIME -2.35792 0.70716 -3.334 0.0007
cos.DECTIME -2.41144 0.72227 -3.339 0.0007
AMLE Regression Statistics
Residual variance: 0.3529
R-squared: 93.18 percent
G-squared: 85.91 on 5 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9448
p-value = 0.0056
Serial Correlation of Residuals: 0.1078
Variance Inflation Factors:
VIF
lnQ 2.567
lnQ2 1.136
DECTIME 1.793
sin.DECTIME 7.263
cos.DECTIME 6.881
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.04 0.10 0.14
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 12 percent
PLR: 1.12
E: 0.2068
> pMeHg_Inletm9 <- loadReg(pMeHg ~model(9), data = pMeHg_Inlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(9), data = pMeHg_Inlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Inletm9
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 32
Number of Uncensored Observations: 32
Center of Decimal Time: 2016.608
Center of ln(Q): 7.0185
Period of record: 2016-01-07 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(9)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.69383 0.77552 -4.7630 0.0000
lnQ 1.63984 0.13766 11.9118 0.0000
lnQ2 0.06138 0.04654 1.3187 0.1424
DECTIME -0.92282 0.32472 -2.8419 0.0028
DECTIME2 -0.19062 1.41611 -0.1346 0.8790
sin.DECTIME -2.31266 0.79545 -2.9074 0.0023
cos.DECTIME -2.38066 0.77100 -3.0878 0.0013
AMLE Regression Statistics
Residual variance: 0.3667
R-squared: 93.18 percent
G-squared: 85.93 on 6 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9455
p-value = 0.006
Serial Correlation of Residuals: 0.11
Variance Inflation Factors:
VIF
lnQ 3.573
lnQ2 1.137
DECTIME 2.079
DECTIME2 1.518
sin.DECTIME 8.843
cos.DECTIME 7.545
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0.01 0.02 0.04 0.09 0.14
Obs 0 0 0.01 0.02 0.06 0.07 0.09
Bias Diagnostics
----------------
Bp: 12.13 percent
PLR: 1.121
E: 0.2163

## Spillway
> pMeHg_Spillwaym1 <- loadReg(pMeHg ~model(1), data = pMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(1), data = pMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Spillwaym1
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
pMeHg ~ model(1)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.738 0.18698 -41.39 0
lnQ 1.312 0.08932 14.69 0
AMLE Regression Statistics
Residual variance: 0.5446
R-squared: 91.13 percent
G-squared: 55.73 on 1 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9829
p-value = 0.5124
Serial Correlation of Residuals: 0.2036
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.02 0.02 0.02 0.02
Obs 0 0 0 0.02 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: -8.877 percent
PLR: 0.9112
E: 0.7565
> pMeHg_Spillwaym2 <- loadReg(pMeHg ~model(2), data = pMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(2), data = pMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Spillwaym2
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
pMeHg ~ model(2)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -8.4333 0.23733 -35.535 0e+00
lnQ 1.3123 0.07027 18.675 0e+00
lnQ2 0.1586 0.04249 3.732 5e-04
AMLE Regression Statistics
Residual variance: 0.3371
R-squared: 94.77 percent
G-squared: 67.88 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9831
p-value = 0.5199
Serial Correlation of Residuals: 0.2582
Variance Inflation Factors:
VIF
lnQ 1
lnQ2 1
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.02 0.03 0.04 0.04
Obs 0 0 0 0.02 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: 14.07 percent
PLR: 1.141
E: 0.6558
> pMeHg_Spillwaym3 <- loadReg(pMeHg ~model(3), data = pMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(3), data = pMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Spillwaym3
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
pMeHg ~ model(3)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.8018 0.16852 -46.296 0.0000
lnQ 1.2408 0.08446 14.692 0.0000
DECTIME 0.8794 0.34664 2.537 0.0113
AMLE Regression Statistics
Residual variance: 0.4326
R-squared: 93.29 percent
G-squared: 62.15 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.965
p-value = 0.1062
Serial Correlation of Residuals: 0.1389
Variance Inflation Factors:
VIF
lnQ 1.126
DECTIME 1.126
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.02 0.02 0.02 0.03
Obs 0 0 0 0.02 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: -4.511 percent
PLR: 0.9549
E: 0.7548
> pMeHg_Spillwaym4 <- loadReg(pMeHg ~model(4), data = pMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(4), data = pMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Spillwaym4
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
pMeHg ~ model(4)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -2.550 1.68225 -1.516 0.1051
lnQ 1.404 0.08903 15.770 0.0000
sin.DECTIME -4.472 1.35359 -3.304 0.0012
cos.DECTIME -4.012 1.42505 -2.815 0.0046
AMLE Regression Statistics
Residual variance: 0.367
R-squared: 94.6 percent
G-squared: 67.11 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9901
p-value = 0.8443
Serial Correlation of Residuals: 0.0092
Variance Inflation Factors:
VIF
lnQ 1.475
sin.DECTIME 11.839
cos.DECTIME 13.239
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.04 0.04
Obs 0 0 0 0.02 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: -2.682 percent
PLR: 0.9732
E: 0.7706
> pMeHg_Spillwaym5 <- loadReg(pMeHg ~model(5), data = pMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(5), data = pMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Spillwaym5
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
pMeHg ~ model(5)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -8.3385 0.24623 -33.865 0.0000
lnQ 1.2775 0.07478 17.082 0.0000
lnQ2 0.1299 0.04785 2.715 0.0060
DECTIME 0.4286 0.34455 1.244 0.1796
AMLE Regression Statistics
Residual variance: 0.3281
R-squared: 95.17 percent
G-squared: 69.68 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9902
p-value = 0.8493
Serial Correlation of Residuals: 0.3326
Variance Inflation Factors:
VIF
lnQ 1.163
lnQ2 1.303
DECTIME 1.466
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.02 0.03 0.04 0.04
Obs 0 0 0 0.02 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: 12 percent
PLR: 1.12
E: 0.6814
> pMeHg_Spillwaym6 <- loadReg(pMeHg ~model(6), data = pMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(6), data = pMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Spillwaym6
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
pMeHg ~ model(6)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.6488 1.25786 -2.901 3e-03
lnQ 1.4061 0.06511 21.595 0e+00
lnQ2 0.1386 0.03311 4.187 1e-04
sin.DECTIME -3.9651 0.99724 -3.976 1e-04
cos.DECTIME -3.7213 1.04442 -3.563 5e-04
AMLE Regression Statistics
Residual variance: 0.1962
R-squared: 97.26 percent
G-squared: 82.75 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9871
p-value = 0.7025
Serial Correlation of Residuals: -0.1892
Variance Inflation Factors:
VIF
lnQ 1.475
lnQ2 1.043
sin.DECTIME 12.016
cos.DECTIME 13.297
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.06 0.06
Obs 0 0 0 0.02 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: 16.6 percent
PLR: 1.166
E: 0.413
> pMeHg_Spillwaym7 <- loadReg(pMeHg ~model(7), data = pMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(7), data = pMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Spillwaym7
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
pMeHg ~ model(7)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.2922 1.68324 -1.956 0.0353
lnQ 1.3596 0.09005 15.099 0.0000
DECTIME 0.5581 0.34981 1.595 0.0812
sin.DECTIME -3.7634 1.37543 -2.736 0.0047
cos.DECTIME -3.5801 1.39687 -2.563 0.0075
AMLE Regression Statistics
Residual variance: 0.3394
R-squared: 95.26 percent
G-squared: 70.15 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.973
p-value = 0.2147
Serial Correlation of Residuals: -0.0423
Variance Inflation Factors:
VIF
lnQ 1.631
DECTIME 1.461
sin.DECTIME 13.218
cos.DECTIME 13.755
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.04 0.04
Obs 0 0 0 0.02 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: -4.597 percent
PLR: 0.954
E: 0.8438
> pMeHg_Spillwaym8 <- loadReg(pMeHg ~model(8), data = pMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(8), data = pMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Spillwaym8
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
pMeHg ~ model(8)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.71454 1.32025 -2.8135 0.0030
lnQ 1.40012 0.07127 19.6461 0.0000
lnQ2 0.13448 0.03804 3.5355 0.0004
DECTIME 0.07406 0.30562 0.2423 0.7782
sin.DECTIME -3.88619 1.07496 -3.6152 0.0003
cos.DECTIME -3.67266 1.09146 -3.3649 0.0006
AMLE Regression Statistics
Residual variance: 0.2071
R-squared: 97.27 percent
G-squared: 82.83 on 5 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9854
p-value = 0.6205
Serial Correlation of Residuals: -0.159
Variance Inflation Factors:
VIF
lnQ 1.674
lnQ2 1.305
DECTIME 1.828
sin.DECTIME 13.232
cos.DECTIME 13.763
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.05 0.06
Obs 0 0 0 0.02 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: 15.62 percent
PLR: 1.156
E: 0.4682
> pMeHg_Spillwaym9 <- loadReg(pMeHg ~model(9), data = pMeHg_Spillway, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(9), data = pMeHg_Spillway, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Spillwaym9
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 23
Number of Uncensored Observations: 23
Center of Decimal Time: 2016.639
Center of ln(Q): 6.6765
Period of record: 2016-01-24 to 2017-04-04
Selected Load Model:
--------------------
pMeHg ~ model(9)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.9084 1.25919 -3.104 0.0010
lnQ 1.2854 0.09596 13.395 0.0000
lnQ2 0.1708 0.04204 4.062 0.0001
DECTIME 0.3386 0.32991 1.026 0.2260
DECTIME2 -5.1156 3.03251 -1.687 0.0523
sin.DECTIME -2.6594 1.25349 -2.122 0.0169
cos.DECTIME -2.9818 1.11461 -2.675 0.0035
AMLE Regression Statistics
Residual variance: 0.1868
R-squared: 97.68 percent
G-squared: 86.6 on 6 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9647
p-value = 0.1036
Serial Correlation of Residuals: -0.139
Variance Inflation Factors:
VIF
lnQ 3.365
lnQ2 1.767
DECTIME 2.361
DECTIME2 4.110
sin.DECTIME 19.946
cos.DECTIME 15.911
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.02 0.02 0.05 0.06
Obs 0 0 0 0.02 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: 15.54 percent
PLR: 1.155
E: 0.493
> View(pMeHg_Spillway)

## Outlet
> pMeHg_Outletm1 <- loadReg(pMeHg ~model(1), data = pMeHg_Outlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(1), data = pMeHg_Outlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Outletm1
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 29
Number of Uncensored Observations: 29
Center of Decimal Time: 2016.634
Center of ln(Q): 5.4949
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(1)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -8.683 0.19266 -45.07 0
lnQ 1.159 0.07797 14.86 0
AMLE Regression Statistics
Residual variance: 0.7803
R-squared: 89.11 percent
G-squared: 64.3 on 1 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9947
p-value = 0.9681
Serial Correlation of Residuals: 0.4013
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.03 0.03
Obs 0 0 0 0.00 0.04 0.05 0.07
Bias Diagnostics
----------------
Bp: -30.56 percent
PLR: 0.6944
E: 0.6373
> pMeHg_Outletm2 <- loadReg(pMeHg ~model(2), data = pMeHg_Outlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(2), data = pMeHg_Outlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Outletm2
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 29
Number of Uncensored Observations: 29
Center of Decimal Time: 2016.634
Center of ln(Q): 5.4949
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(2)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -9.05006 0.19553 -46.286 0.0000
lnQ 1.15876 0.06604 17.546 0.0000
lnQ2 0.06018 0.01764 3.411 0.0011
AMLE Regression Statistics
Residual variance: 0.5598
R-squared: 92.47 percent
G-squared: 75.02 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9922
p-value = 0.8754
Serial Correlation of Residuals: 0.28
Variance Inflation Factors:
VIF
lnQ 1
lnQ2 1
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.04 0.04 0.04
Obs 0 0 0 0.00 0.04 0.05 0.07
Bias Diagnostics
----------------
Bp: -4.094 percent
PLR: 0.9591
E: 0.845
> pMeHg_Outletm3 <- loadReg(pMeHg ~model(3), data = pMeHg_Outlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(3), data = pMeHg_Outlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Outletm3
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 29
Number of Uncensored Observations: 29
Center of Decimal Time: 2016.634
Center of ln(Q): 5.4949
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(3)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -8.610 0.18628 -46.218 0.0000
lnQ 1.133 0.07501 15.112 0.0000
DECTIME 0.668 0.33311 2.005 0.0411
AMLE Regression Statistics
Residual variance: 0.7018
R-squared: 90.57 percent
G-squared: 68.47 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.992
p-value = 0.8638
Serial Correlation of Residuals: 0.2588
Variance Inflation Factors:
VIF
lnQ 1.029
DECTIME 1.029
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.03 0.03 0.03
Obs 0 0 0 0.00 0.04 0.05 0.07
Bias Diagnostics
----------------
Bp: -19.58 percent
PLR: 0.8042
E: 0.7387
> pMeHg_Outletm4 <- loadReg(pMeHg ~model(4), data = pMeHg_Outlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(4), data = pMeHg_Outlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Outletm4
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 29
Number of Uncensored Observations: 29
Center of Decimal Time: 2016.634
Center of ln(Q): 5.4949
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(4)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.4985 0.84792 -8.8434 0.0000
lnQ 1.2550 0.08909 14.0869 0.0000
sin.DECTIME -1.4561 0.78747 -1.8491 0.0539
cos.DECTIME -0.7505 0.77219 -0.9719 0.2997
AMLE Regression Statistics
Residual variance: 0.7126
R-squared: 90.79 percent
G-squared: 69.16 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9941
p-value = 0.9523
Serial Correlation of Residuals: 0.2381
Variance Inflation Factors:
VIF
lnQ 1.430
sin.DECTIME 4.004
cos.DECTIME 3.419
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0 0.02 0.04 0.04
Obs 0 0 0 0 0.04 0.05 0.07
Bias Diagnostics
----------------
Bp: -18.38 percent
PLR: 0.8162
E: 0.8602
> pMeHg_Outletm5 <- loadReg(pMeHg ~model(5), data = pMeHg_Outlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(5), data = pMeHg_Outlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Outletm5
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 29
Number of Uncensored Observations: 29
Center of Decimal Time: 2016.634
Center of ln(Q): 5.4949
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(5)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -8.97771 0.21694 -41.384 0.0000
lnQ 1.14868 0.06771 16.964 0.0000
lnQ2 0.05309 0.01988 2.671 0.0070
DECTIME 0.26653 0.33524 0.795 0.3948
AMLE Regression Statistics
Residual variance: 0.5679
R-squared: 92.66 percent
G-squared: 75.74 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9918
p-value = 0.852
Serial Correlation of Residuals: 0.246
Variance Inflation Factors:
VIF
lnQ 1.036
lnQ2 1.252
DECTIME 1.288
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0 0.04 0.04 0.04
Obs 0 0 0 0 0.04 0.05 0.07
Bias Diagnostics
----------------
Bp: -1.277 percent
PLR: 0.9872
E: 0.8474
> pMeHg_Outletm6 <- loadReg(pMeHg ~model(6), data = pMeHg_Outlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(6), data = pMeHg_Outlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Outletm6
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 29
Number of Uncensored Observations: 29
Center of Decimal Time: 2016.634
Center of ln(Q): 5.4949
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(6)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.99820 0.76697 -10.428 0.0000
lnQ 1.22610 0.07913 15.495 0.0000
lnQ2 0.05387 0.01879 2.867 0.0035
sin.DECTIME -1.07131 0.70652 -1.516 0.1033
cos.DECTIME -0.78640 0.68031 -1.156 0.2100
AMLE Regression Statistics
Residual variance: 0.553
R-squared: 93.14 percent
G-squared: 77.7 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.987
p-value = 0.5839
Serial Correlation of Residuals: 0.2781
Variance Inflation Factors:
VIF
lnQ 1.453
lnQ2 1.149
sin.DECTIME 4.153
cos.DECTIME 3.420
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.04 0.05 0.05
Obs 0 0 0 0.00 0.04 0.05 0.07
Bias Diagnostics
----------------
Bp: 0.8986 percent
PLR: 1.009
E: 0.9368
> pMeHg_Outletm7 <- loadReg(pMeHg ~model(7), data = pMeHg_Outlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(7), data = pMeHg_Outlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Outletm7
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 29
Number of Uncensored Observations: 29
Center of Decimal Time: 2016.634
Center of ln(Q): 5.4949
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(7)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -8.1101 1.0609 -7.6444 0.0000
lnQ 1.1970 0.1077 11.1114 0.0000
DECTIME 0.4324 0.4496 0.9617 0.2950
sin.DECTIME -0.7838 1.0538 -0.7438 0.4162
cos.DECTIME -0.2193 0.9503 -0.2308 0.7999
AMLE Regression Statistics
Residual variance: 0.7148
R-squared: 91.13 percent
G-squared: 70.26 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9846
p-value = 0.4619
Serial Correlation of Residuals: 0.1933
Variance Inflation Factors:
VIF
lnQ 2.084
DECTIME 1.841
sin.DECTIME 7.149
cos.DECTIME 5.163
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0 0.03 0.04 0.04
Obs 0 0 0 0 0.04 0.05 0.07
Bias Diagnostics
----------------
Bp: -14.3 percent
PLR: 0.857
E: 0.8594
> pMeHg_Outletm8 <- loadReg(pMeHg ~model(8), data = pMeHg_Outlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(8), data = pMeHg_Outlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Outletm8
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 29
Number of Uncensored Observations: 29
Center of Decimal Time: 2016.634
Center of ln(Q): 5.4949
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(8)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.87460 0.95643 -8.2333 0.0000
lnQ 1.23858 0.09799 12.6400 0.0000
lnQ2 0.05606 0.02150 2.6070 0.0061
DECTIME -0.10173 0.45254 -0.2248 0.8008
sin.DECTIME -1.21384 0.96008 -1.2643 0.1627
cos.DECTIME -0.91284 0.89343 -1.0217 0.2566
AMLE Regression Statistics
Residual variance: 0.5757
R-squared: 93.15 percent
G-squared: 77.76 on 5 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9872
p-value = 0.5953
Serial Correlation of Residuals: 0.2938
Variance Inflation Factors:
VIF
lnQ 2.141
lnQ2 1.445
DECTIME 2.315
sin.DECTIME 7.366
cos.DECTIME 5.665
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.04 0.05 0.06
Obs 0 0 0 0.00 0.04 0.05 0.07
Bias Diagnostics
----------------
Bp: 0.7078 percent
PLR: 1.007
E: 0.9437
> pMeHg_Outletm9 <- loadReg(pMeHg ~model(9), data = pMeHg_Outlet, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(9), data = pMeHg_Outlet, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Outletm9
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 29
Number of Uncensored Observations: 29
Center of Decimal Time: 2016.634
Center of ln(Q): 5.4949
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(9)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.86386 0.97883 -8.03397 0.0000
lnQ 1.22745 0.11640 10.54489 0.0000
lnQ2 0.05360 0.02558 2.09557 0.0216
DECTIME -0.04732 0.54592 -0.08669 0.9207
DECTIME2 -0.42684 2.27751 -0.18741 0.8297
sin.DECTIME -1.09292 1.17407 -0.93088 0.2898
cos.DECTIME -0.83252 1.00839 -0.82559 0.3469
AMLE Regression Statistics
Residual variance: 0.6009
R-squared: 93.16 percent
G-squared: 77.81 on 6 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9839
p-value = 0.4327
Serial Correlation of Residuals: 0.2823
Variance Inflation Factors:
VIF
lnQ 2.894
lnQ2 1.958
DECTIME 3.228
DECTIME2 1.889
sin.DECTIME 10.554
cos.DECTIME 6.914
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.04 0.05 0.05
Obs 0 0 0 0.00 0.04 0.05 0.07
Bias Diagnostics
----------------
Bp: 0.5537 percent
PLR: 1.006
E: 0.9405
> View(pMeHg_Outlet)

## Combined
> pMeHg_Combinedm1 <- loadReg(pMeHg ~model(1), data = pMeHg_Combined , flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(1), data = pMeHg_Combined, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Combinedm1
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 34
Number of Uncensored Observations: 34
Center of Decimal Time: 2016.626
Center of ln(Q): 7.0699
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(1)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.047 0.12634 -55.78 0
lnQ 1.266 0.07596 16.66 0
AMLE Regression Statistics
Residual variance: 0.5316
R-squared: 89.66 percent
G-squared: 77.16 on 1 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9855
p-value = 0.4211
Serial Correlation of Residuals: 0.3103
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.02 0.02
Obs 0 0 0 0.01 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: -0.6397 percent
PLR: 0.9936
E: 0.8053
> pMeHg_Combinedm2 <- loadReg(pMeHg ~model(2), data = pMeHg_Combined , flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(2), data = pMeHg_Combined, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Combinedm2
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 34
Number of Uncensored Observations: 34
Center of Decimal Time: 2016.626
Center of ln(Q): 7.0699
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(2)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.0453442 0.20128 -35.00276 0.000
lnQ 1.2656286 0.07718 16.39863 0.000
lnQ2 -0.0006012 0.05605 -0.01073 0.991
AMLE Regression Statistics
Residual variance: 0.5487
R-squared: 89.66 percent
G-squared: 77.16 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9855
p-value = 0.4197
Serial Correlation of Residuals: 0.3105
Variance Inflation Factors:
VIF
lnQ 1
lnQ2 1
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.02 0.02
Obs 0 0 0 0.01 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: -0.7838 percent
PLR: 0.9922
E: 0.8047
> pMeHg_Combinedm3 <- loadReg(pMeHg ~model(3), data = pMeHg_Combined , flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(3), data = pMeHg_Combined, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Combinedm3
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 34
Number of Uncensored Observations: 34
Center of Decimal Time: 2016.626
Center of ln(Q): 7.0699
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(3)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.051 0.12717 -55.4470 0.000
lnQ 1.238 0.08409 14.7177 0.000
DECTIME 0.236 0.29537 0.7991 0.405
AMLE Regression Statistics
Residual variance: 0.5377
R-squared: 89.87 percent
G-squared: 77.86 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9895
p-value = 0.6537
Serial Correlation of Residuals: 0.273
Variance Inflation Factors:
VIF
lnQ 1.211
DECTIME 1.211
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.03 0.03
Obs 0 0 0 0.01 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: 1.818 percent
PLR: 1.018
E: 0.809
> pMeHg_Combinedm4 <- loadReg(pMeHg ~model(4), data = pMeHg_Combined , flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(4), data = pMeHg_Combined, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Combinedm4
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 34
Number of Uncensored Observations: 34
Center of Decimal Time: 2016.626
Center of ln(Q): 7.0699
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(4)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -5.8856 0.76926 -7.651 0.0000
lnQ 1.3176 0.08244 15.983 0.0000
sin.DECTIME -1.1471 0.66686 -1.720 0.0737
cos.DECTIME -0.8267 0.65394 -1.264 0.1841
AMLE Regression Statistics
Residual variance: 0.5135
R-squared: 90.64 percent
G-squared: 80.54 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9887
p-value = 0.6005
Serial Correlation of Residuals: 0.2645
Variance Inflation Factors:
VIF
lnQ 1.219
sin.DECTIME 3.817
cos.DECTIME 3.874
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.03 0.03
Obs 0 0 0 0.01 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: 3.892 percent
PLR: 1.039
E: 0.8821
> pMeHg_Combinedm5 <- loadReg(pMeHg ~model(5), data = pMeHg_Combined , flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(5), data = pMeHg_Combined, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Combinedm5
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 34
Number of Uncensored Observations: 34
Center of Decimal Time: 2016.626
Center of ln(Q): 7.0699
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(5)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -7.00293 0.20844 -33.5971 0.0000
lnQ 1.23377 0.08631 14.2942 0.0000
lnQ2 -0.01764 0.05985 -0.2948 0.7538
DECTIME 0.26786 0.31866 0.8406 0.3736
AMLE Regression Statistics
Residual variance: 0.554
R-squared: 89.9 percent
G-squared: 77.95 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.99
p-value = 0.6879
Serial Correlation of Residuals: 0.2705
Variance Inflation Factors:
VIF
lnQ 1.239
lnQ2 1.130
DECTIME 1.368
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.02 0.02
Obs 0 0 0 0.01 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: -0.4864 percent
PLR: 0.9951
E: 0.8016
> pMeHg_Combinedm6 <- loadReg(pMeHg ~model(6), data = pMeHg_Combined , flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(6), data = pMeHg_Combined, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Combinedm6
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 34
Number of Uncensored Observations: 34
Center of Decimal Time: 2016.626
Center of ln(Q): 7.0699
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(6)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -5.69674 0.82317 -6.9205 0.0000
lnQ 1.32021 0.08326 15.8572 0.0000
lnQ2 -0.04307 0.06259 -0.6882 0.4580
sin.DECTIME -1.27755 0.69896 -1.8278 0.0542
cos.DECTIME -0.82439 0.65977 -1.2495 0.1818
AMLE Regression Statistics
Residual variance: 0.5227
R-squared: 90.79 percent
G-squared: 81.09 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9905
p-value = 0.7195
Serial Correlation of Residuals: 0.2455
Variance Inflation Factors:
VIF
lnQ 1.222
lnQ2 1.309
sin.DECTIME 4.119
cos.DECTIME 3.874
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.03 0.03
Obs 0 0 0 0.01 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: -0.987 percent
PLR: 0.9901
E: 0.8766
> pMeHg_Combinedm7 <- loadReg(pMeHg ~model(7), data = pMeHg_Combined , flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(7), data = pMeHg_Combined, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Combinedm7
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 34
Number of Uncensored Observations: 34
Center of Decimal Time: 2016.626
Center of ln(Q): 7.0699
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(7)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -5.5747 1.0082 -5.5295 0.0000
lnQ 1.3543 0.1125 12.0359 0.0000
DECTIME -0.1917 0.3946 -0.4859 0.5996
sin.DECTIME -1.4416 0.9075 -1.5885 0.0921
cos.DECTIME -1.0532 0.8101 -1.3002 0.1652
AMLE Regression Statistics
Residual variance: 0.5269
R-squared: 90.72 percent
G-squared: 80.81 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9844
p-value = 0.3687
Serial Correlation of Residuals: 0.282
Variance Inflation Factors:
VIF
lnQ 2.213
DECTIME 2.206
sin.DECTIME 6.888
cos.DECTIME 5.793
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.03 0.03
Obs 0 0 0 0.01 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: 3.705 percent
PLR: 1.037
E: 0.8873
> pMeHg_Combinedm8 <- loadReg(pMeHg ~model(8), data = pMeHg_Combined , flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(8), data = pMeHg_Combined, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Combinedm8
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 34
Number of Uncensored Observations: 34
Center of Decimal Time: 2016.626
Center of ln(Q): 7.0699
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(8)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -5.48828 1.0302 -5.3275 0.0000
lnQ 1.34693 0.1145 11.7659 0.0000
lnQ2 -0.03837 0.0650 -0.5902 0.5167
DECTIME -0.14132 0.4081 -0.3463 0.7031
sin.DECTIME -1.48034 0.9202 -1.6087 0.0830
cos.DECTIME -0.99163 0.8259 -1.2006 0.1914
AMLE Regression Statistics
Residual variance: 0.539
R-squared: 90.83 percent
G-squared: 81.23 on 5 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9869
p-value = 0.4914
Serial Correlation of Residuals: 0.2624
Variance Inflation Factors:
VIF
lnQ 2.240
lnQ2 1.369
DECTIME 2.307
sin.DECTIME 6.924
cos.DECTIME 5.887
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.03 0.03
Obs 0 0 0 0.01 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: -0.5409 percent
PLR: 0.9946
E: 0.8822
> pMeHg_Combinedm9 <- loadReg(pMeHg ~model(9), data = pMeHg_Combined , flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Yolo")
Warning message:
In loadReg(pMeHg ~ model(9), data = pMeHg_Combined, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> pMeHg_Combinedm9
*** Load Estimation ***
Station: CCSB-Yolo
Constituent: pMeHg
Number of Observations: 34
Number of Uncensored Observations: 34
Center of Decimal Time: 2016.626
Center of ln(Q): 7.0699
Period of record: 2016-01-20 to 2017-04-26
Selected Load Model:
--------------------
pMeHg ~ model(9)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -5.45856 1.05024 -5.1975 0.0000
lnQ 1.37669 0.14448 9.5287 0.0000
lnQ2 -0.04356 0.06772 -0.6432 0.4721
DECTIME -0.22205 0.47544 -0.4671 0.6009
DECTIME2 0.76505 2.20355 0.3472 0.6972
sin.DECTIME -1.69705 1.12423 -1.5095 0.0970
cos.DECTIME -1.09689 0.89231 -1.2293 0.1736
AMLE Regression Statistics
Residual variance: 0.5565
R-squared: 90.87 percent
G-squared: 81.38 on 6 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9896
p-value = 0.6616
Serial Correlation of Residuals: 0.2646
Variance Inflation Factors:
VIF
lnQ 3.456
lnQ2 1.440
DECTIME 3.033
DECTIME2 1.943
sin.DECTIME 10.009
cos.DECTIME 6.656
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0 0 0.01 0.02 0.03 0.03
Obs 0 0 0 0.01 0.02 0.02 0.04
Bias Diagnostics
----------------
Bp: 0.5166 percent
PLR: 1.005
E: 0.8864