## wwTHg wy2016-18 Model Results
wwTHg wy 2016-18 | Model Coefficients | [5 empty] | AMLE |  |  |  | Bias Diagnostics
Model # | In_Q (p-value) | In_Q2 (p-value) | DECTIME (p-value) | DECTIME2 (p-value) | sin.DECTIME (p-value) | cos.DECTIME (p-value) | Overall p-value | Overall R2 % | PPCC* (p-value) | Serial Correlation | Bp % | E
| < 0.05 ideal | < 0.05 ideal | < 0.05 ideal | < 0.05 ideal | < 0.05 ideal | < 0.05 ideal | < 0.01 |  | > 0.05 ideal | closest to 0 | 0 +/- 10 is ideal | > 0.5 | N > 25 ideal
| < 0.1 accept | < 0.1 accept | < 0.1 accept | < 0.1 accept | < 0.1 accept | < 0.1 accept |  |  | closest to 1 |  | < 25 | closest to 1 | N > 20 accept
Outlet wwTHg (No samples at Spillway for wy2018)
Bias Diagnostic
Model # | In_Q (p-value) | In_Q2 (p-value) | DECTIME (p-value) | DECTIME2 (p-value) | sin.DECTIME (p-value) | cos.DECTIME (p-value) | Overall p-value | R2 | PPCC (p-value) | Serial Correlation | Bp | E | Best Model Choice | % Std Err of Flux (Annual) | Best % Std. Err of Flux? | Notes
1 | 0 | -- | -- | -- | -- | -- | <0.0001 | [8 empty] | Warning message: | In loadReg(wwTHg ~ model(1), data = wwTHg_Outlet, flow = "Flow", dates = "Dates", : |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
2 | 0 |  | -- | -- | -- | -- | <0.0001 | [8 empty] | Warning message: | In loadReg(wwTHg ~ model(2), data = wwTHg_Outlet, flow = "Flow", dates = "Dates", : |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
3 | 0 | -- |  | -- | -- | -- | <0.0001 | [8 empty] | Warning message: | In loadReg(wwTHg ~ model(3), data = wwTHg_Outlet, flow = "Flow", dates = "Dates", : |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
4 | 0 | -- | -- | -- |  |  | <0.0001 | [8 empty] | Warning message: | In loadReg(wwTHg ~ model(4), data = wwTHg_Outlet, flow = "Flow", dates = "Dates", : |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
5 | 0 |  |  | -- | -- | -- | <0.0001 | [8 empty] | Warning message: | In loadReg(wwTHg ~ model(5), data = wwTHg_Outlet, flow = "Flow", dates = "Dates", : |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
6 | 0 |  | -- | -- |  |  | <0.0001 | [8 empty] | Warning message: | In loadReg(wwTHg ~ model(6), data = wwTHg_Outlet, flow = "Flow", dates = "Dates", : |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
7 | 0 | -- |  | -- |  |  | <0.0001 | [8 empty] | Warning message: | In loadReg(wwTHg ~ model(7), data = wwTHg_Outlet, flow = "Flow", dates = "Dates", : |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
8 | 0 |  |  | -- |  |  | <0.0001 | [8 empty] | Warning message: | In loadReg(wwTHg ~ model(8), data = wwTHg_Outlet, flow = "Flow", dates = "Dates", : |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
9 | 0 | [5 empty] | <0.0001 | [8 empty] | Warning message: | In loadReg(wwTHg ~ model(9), data = wwTHg_Outlet, flow = "Flow", dates = "Dates", : |  | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
Rumsey wwTHg
| Number of Uncensored Observations: 52; Period of record: 2015-12-19 to 2018-05-11 | [9 empty] | Bias Diagnostic
Model # | In_Q (p-value) | In_Q2 (p-value) | DECTIME (p-value) | DECTIME2 (p-value) | sin.DECTIME (p-value) | cos.DECTIME (p-value) | Overall p-value | R2 | PPCC (p-value) | Serial Correlation | Bp | E | Best Model Choice | % Std Err of Flux (Annual) | Best % Std. Err of Flux? | Notes
1 | 0 | -- | -- | -- | -- | -- | <0.0001 | 91.4 | 0.1446 | 0.4624 | 26.87 | 0.7727 | x | 20.81, 26.46, 20.77 | y | Warning message: | In loadReg(wwTHg ~ model(1), data = wwTHg_Rumsey, flow = "Flow", dates = "Dates", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
2 | 0 | 0.1448 | -- | -- | -- | -- | <0.0001 | 91.75 | 0.8205 | 0.4939 | 59.78 | 0.1944 |  |  |  | Warning message: | In loadReg(wwTHg ~ model(2), data = wwTHg_Rumsey, flow = "Flow", dates = "Dates", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
3 | 0 | -- | 0.0138 | -- | -- | -- | <0.0001 | 92.35 | 0.1013 | 0.381 | 9.388 | 0.9002 | x | 23.56, 25.56, 36.40 |  | Warning message: | In loadReg(wwTHg ~ model(3), data = wwTHg_Rumsey, flow = "Flow", dates = "Dates", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
4 | 0 | -- | -- | -- | 0.9211 | 0.0043 | <0.0001 | 93.56 | 0.3867 | 0.4003 | 36.02 | 0.6013 |  |  |  | Warning message: | In loadReg(wwTHg ~ model(4), data = wwTHg_Rumsey, flow = "Flow", dates = "Dates", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
5 | 0 | 0.0395 | 0.0042 | -- | -- | -- | <0.0001 | 92.95 | 0.3513 | 0.3844 | 45.34 | 0.4748 |  |  |  | Warning message: | In loadReg(wwTHg ~ model(5), data = wwTHg_Rumsey, flow = "Flow", dates = "Dates", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
6 | 0 | 0.6667 | -- | -- | 0.9969 | 0.0114 | <0.0001 | 93.58 | 0.3418 | 0.4147 | 43.93 | 0.4704 |  |  |  | Warning message: | In loadReg(wwTHg ~ model(6), data = wwTHg_Rumsey, flow = "Flow", dates = "Dates", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
7 | 0 | -- | 0.0853 | -- | 0.7304 | 0.0058 | <0.0001 | 93.92 | 0.6287 | 0.3532 | 22.07 | 0.7778 |  |  |  | Warning message: | In loadReg(wwTHg ~ model(7), data = wwTHg_Rumsey, flow = "Flow", dates = "Dates", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
8 | 0 | 0.3468 | 0.0557 | -- | 0.882 | 0.0267 | <0.0001 | 94.02 | 0.248 | 0.3685 | 37.2 | 0.5786 |  |  |  | Warning message: | In loadReg(wwTHg ~ model(8), data = wwTHg_Rumsey, flow = "Flow", dates = "Dates", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
9 | 0 | 0.0218 | 0.1409 | 0 | 0.0694 | 0.1726 | <0.0001 | 95.83 | 0.0925 | 0.1833 | 37.58 | 0.2804 |  |  |  | Warning message: | In loadReg(wwTHg ~ model(9), data = wwTHg_Rumsey, flow = "Flow", dates = "Dates", : | The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
Note on J2: Rose, Shanna Lynn: * From Joe D.: "I noticed in some of the CCSB runs, the residual plots are not evenly distributed but show bias. In an ideal run, there would be a more or less equal number of points above and below the zero line. I attached an example from a pesticide paper that I recently published. The results are not perfect but show that a favorable model was produced. This run gave an E of 0.57 and a Bp of 14.8. I just checked the p values of the coefficients, there were 4, and all were less than 0.05." My interpretation from Joe's example and from "Application 3: Analysis of an Censored Constituent using a Seasonal Model" (Lorenz 2013) is that the PPCC p-value should have more weight when choosing the best model (rather than the E and Bp values). I am starting to add these values to the models stats sheets with Combie Loads. -3/28/2019, slrose

## Rumsey
> wwTHg_Rumsey<-importRDB("wwTHg_RumseyR.txt")
> RumseyQ<-importRDB("RumseyQR.txt")
> wwTHg_Rumseym1 <- loadReg(wwTHg ~model(1), data = wwTHg_Rumsey, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Rumsey")
Warning message:
In loadReg(wwTHg ~ model(1), data = wwTHg_Rumsey, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwTHg_Rumseym1
*** Load Estimation ***
Station: CCSB-Rumsey
Constituent: wwTHg
Number of Observations: 52
Number of Uncensored Observations: 52
Center of Decimal Time: 2017.067
Center of ln(Q): 6.651
Period of record: 2015-12-19 to 2018-05-11
Selected Load Model:
--------------------
wwTHg ~ model(1)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -2.157 0.15475 -13.94 0
lnQ 1.906 0.08266 23.06 0
AMLE Regression Statistics
Residual variance: 1.241
R-squared: 91.4 percent
G-squared: 127.6 on 1 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9836
p-value = 0.1446
Serial Correlation of Residuals: 0.4624
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0.01 0.2 4.88 33.3 64.6 70.9
Obs 0 0.00 0.2 3.43 25.8 44.4 55.6
Bias Diagnostics
----------------
Bp: 26.87 percent
PLR: 1.269
E: 0.7727
> wwTHg_Rumseym2 <- loadReg(wwTHg ~model(2), data = wwTHg_Rumsey, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Rumsey")
Warning message:
In loadReg(wwTHg ~ model(2), data = wwTHg_Rumsey, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwTHg_Rumseym2
*** Load Estimation ***
Station: CCSB-Rumsey
Constituent: wwTHg
Number of Observations: 52
Number of Uncensored Observations: 52
Center of Decimal Time: 2017.067
Center of ln(Q): 6.651
Period of record: 2015-12-19 to 2018-05-11
Selected Load Model:
--------------------
wwTHg ~ model(2)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -2.38315 0.22017 -10.82 0.0000
lnQ 1.90598 0.08181 23.30 0.0000
lnQ2 0.06453 0.04512 1.43 0.1448
AMLE Regression Statistics
Residual variance: 1.215
R-squared: 91.75 percent
G-squared: 129.7 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9942
p-value = 0.8205
Serial Correlation of Residuals: 0.4939
Variance Inflation Factors:
VIF
lnQ 1
lnQ2 1
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0.01 0.16 4.59 41.0 88.8 99.1
Obs 0 0.00 0.20 3.43 25.8 44.4 55.6
Bias Diagnostics
----------------
Bp: 59.78 percent
PLR: 1.598
E: 0.1944
> wwTHg_Rumseym3 <- loadReg(wwTHg ~model(3), data = wwTHg_Rumsey, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Rumsey")
Warning message:
In loadReg(wwTHg ~ model(3), data = wwTHg_Rumsey, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwTHg_Rumseym3
*** Load Estimation ***
Station: CCSB-Rumsey
Constituent: wwTHg
Number of Observations: 52
Number of Uncensored Observations: 52
Center of Decimal Time: 2017.067
Center of ln(Q): 6.651
Period of record: 2015-12-19 to 2018-05-11
Selected Load Model:
--------------------
wwTHg ~ model(3)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -2.1978 0.14840 -14.810 0.0000
lnQ 1.8752 0.07976 23.511 0.0000
DECTIME -0.4724 0.19189 -2.462 0.0138
AMLE Regression Statistics
Residual variance: 1.127
R-squared: 92.35 percent
G-squared: 133.7 on 2 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9816
p-value = 0.1013
Serial Correlation of Residuals: 0.381
Variance Inflation Factors:
VIF
lnQ 1.025
DECTIME 1.025
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0.01 0.18 5.14 26.9 54.7 57.7
Obs 0 0.00 0.20 3.43 25.8 44.4 55.6
Bias Diagnostics
----------------
Bp: 9.388 percent
PLR: 1.094
E: 0.9002
> wwTHg_Rumseym4 <- loadReg(wwTHg ~model(4), data = wwTHg_Rumsey, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Rumsey")
Warning message:
In loadReg(wwTHg ~ model(4), data = wwTHg_Rumsey, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwTHg_Rumseym4
*** Load Estimation ***
Station: CCSB-Rumsey
Constituent: wwTHg
Number of Observations: 52
Number of Uncensored Observations: 52
Center of Decimal Time: 2017.067
Center of ln(Q): 6.651
Period of record: 2015-12-19 to 2018-05-11
Selected Load Model:
--------------------
wwTHg ~ model(4)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.06706 0.4837 -6.34071 0.0000
lnQ 1.89398 0.0745 25.42356 0.0000
sin.DECTIME 0.04553 0.4784 0.09517 0.9211
cos.DECTIME 1.28168 0.4489 2.85513 0.0043
AMLE Regression Statistics
Residual variance: 0.9684
R-squared: 93.56 percent
G-squared: 142.6 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9891
p-value = 0.3867
Serial Correlation of Residuals: 0.4003
Variance Inflation Factors:
VIF
lnQ 1.041
sin.DECTIME 2.093
cos.DECTIME 2.069
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0.01 0.13 5.70 29.7 69.2 81.7
Obs 0 0.00 0.20 3.43 25.8 44.4 55.6
Bias Diagnostics
----------------
Bp: 36.02 percent
PLR: 1.36
E: 0.6013
> wwTHg_Rumseym5 <- loadReg(wwTHg ~model(5), data = wwTHg_Rumsey, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Rumsey")
Warning message:
In loadReg(wwTHg ~ model(5), data = wwTHg_Rumsey, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwTHg_Rumseym5
*** Load Estimation ***
Station: CCSB-Rumsey
Constituent: wwTHg
Number of Observations: 52
Number of Uncensored Observations: 52
Center of Decimal Time: 2017.067
Center of ln(Q): 6.651
Period of record: 2015-12-19 to 2018-05-11
Selected Load Model:
--------------------
wwTHg ~ model(5)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -2.5069 0.21013 -11.930 0.0000
lnQ 1.8707 0.07740 24.170 0.0000
lnQ2 0.0865 0.04284 2.019 0.0395
DECTIME -0.5409 0.18921 -2.859 0.0042
AMLE Regression Statistics
Residual variance: 1.06
R-squared: 92.95 percent
G-squared: 137.9 on 3 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9886
p-value = 0.3513
Serial Correlation of Residuals: 0.3844
Variance Inflation Factors:
VIF
lnQ 1.026
lnQ2 1.033
DECTIME 1.059
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0.01 0.13 4.74 34.5 82.6 88.7
Obs 0 0.00 0.20 3.43 25.8 44.4 55.6
Bias Diagnostics
----------------
Bp: 45.34 percent
PLR: 1.453
E: 0.4748
> wwTHg_Rumseym6 <- loadReg(wwTHg ~model(6), data = wwTHg_Rumsey, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Rumsey")
Warning message:
In loadReg(wwTHg ~ model(6), data = wwTHg_Rumsey, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwTHg_Rumseym6
*** Load Estimation ***
Station: CCSB-Rumsey
Constituent: wwTHg
Number of Observations: 52
Number of Uncensored Observations: 52
Center of Decimal Time: 2017.067
Center of ln(Q): 6.651
Period of record: 2015-12-19 to 2018-05-11
Selected Load Model:
--------------------
wwTHg ~ model(6)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.060438 0.48822 -6.26851 0.0000
lnQ 1.895768 0.07528 25.18371 0.0000
lnQ2 0.017944 0.04378 0.40986 0.6667
sin.DECTIME -0.001826 0.49621 -0.00368 0.9969
cos.DECTIME 1.208188 0.48705 2.48061 0.0114
AMLE Regression Statistics
Residual variance: 0.9855
R-squared: 93.58 percent
G-squared: 142.8 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9884
p-value = 0.3418
Serial Correlation of Residuals: 0.4147
Variance Inflation Factors:
VIF
lnQ 1.044
lnQ2 1.161
sin.DECTIME 2.213
cos.DECTIME 2.394
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0.01 0.12 5.60 31.0 74.6 88.3
Obs 0 0.00 0.20 3.43 25.8 44.4 55.6
Bias Diagnostics
----------------
Bp: 43.93 percent
PLR: 1.439
E: 0.4704
> wwTHg_Rumseym7 <- loadReg(wwTHg ~model(7), data = wwTHg_Rumsey, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Rumsey")
Warning message:
In loadReg(wwTHg ~ model(7), data = wwTHg_Rumsey, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwTHg_Rumseym7
*** Load Estimation ***
Station: CCSB-Rumsey
Constituent: wwTHg
Number of Observations: 52
Number of Uncensored Observations: 52
Center of Decimal Time: 2017.067
Center of ln(Q): 6.651
Period of record: 2015-12-19 to 2018-05-11
Selected Load Model:
--------------------
wwTHg ~ model(7)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.0836 0.47521 -6.4890 0.0000
lnQ 1.8720 0.07436 25.1764 0.0000
DECTIME -0.3050 0.18377 -1.6596 0.0853
sin.DECTIME 0.1555 0.47452 0.3278 0.7304
cos.DECTIME 1.2064 0.44324 2.7218 0.0058
AMLE Regression Statistics
Residual variance: 0.9343
R-squared: 93.92 percent
G-squared: 145.6 on 4 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9921
p-value = 0.6287
Serial Correlation of Residuals: 0.3532
Variance Inflation Factors:
VIF
lnQ 1.075
DECTIME 1.134
sin.DECTIME 2.134
cos.DECTIME 2.091
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0.01 0.16 5.14 26.3 62.3 70.7
Obs 0 0.00 0.20 3.43 25.8 44.4 55.6
Bias Diagnostics
----------------
Bp: 22.07 percent
PLR: 1.221
E: 0.7778
> wwTHg_Rumseym8 <- loadReg(wwTHg ~model(8), data = wwTHg_Rumsey, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Rumsey")
Warning message:
In loadReg(wwTHg ~ model(8), data = wwTHg_Rumsey, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwTHg_Rumseym8
*** Load Estimation ***
Station: CCSB-Rumsey
Constituent: wwTHg
Number of Observations: 52
Number of Uncensored Observations: 52
Center of Decimal Time: 2017.067
Center of ln(Q): 6.651
Period of record: 2015-12-19 to 2018-05-11
Selected Load Model:
--------------------
wwTHg ~ model(8)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.07155 0.47647 -6.4464 0.0000
lnQ 1.87273 0.07453 25.1280 0.0000
lnQ2 0.03937 0.04430 0.8887 0.3468
DECTIME -0.34979 0.19096 -1.8317 0.0557
sin.DECTIME 0.06780 0.48572 0.1396 0.8820
cos.DECTIME 1.03416 0.48469 2.1336 0.0267
AMLE Regression Statistics
Residual variance: 0.9385
R-squared: 94.02 percent
G-squared: 146.5 on 5 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9866
p-value = 0.248
Serial Correlation of Residuals: 0.3685
Variance Inflation Factors:
VIF
lnQ 1.075
lnQ2 1.248
DECTIME 1.219
sin.DECTIME 2.226
cos.DECTIME 2.490
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0.01 0.14 4.80 28.3 73.9 84.0
Obs 0 0.00 0.20 3.43 25.8 44.4 55.6
Bias Diagnostics
----------------
Bp: 37.2 percent
PLR: 1.372
E: 0.5786
> wwTHg_Rumseym9 <- loadReg(wwTHg ~model(9), data = wwTHg_Rumsey, flow="Flow", dates = "Dates" ,conc.units="ng/L" , station = "CCSB-Rumsey")
Warning message:
In loadReg(wwTHg ~ model(9), data = wwTHg_Rumsey, flow = "Flow", :
The minimum spacing between daily loads is 1 days. The time between observations should be at least 7 days to avoid autocorrelation issues.
> wwTHg_Rumseym9
*** Load Estimation ***
Station: CCSB-Rumsey
Constituent: wwTHg
Number of Observations: 52
Number of Uncensored Observations: 52
Center of Decimal Time: 2017.067
Center of ln(Q): 6.651
Period of record: 2015-12-19 to 2018-05-11
Selected Load Model:
--------------------
wwTHg ~ model(9)
Model coefficients:
Estimate Std. Error z-score p-value
(Intercept) -3.45435 0.41121 -8.400 0.0000
lnQ 2.17746 0.09321 23.361 0.0000
lnQ2 0.08482 0.03876 2.188 0.0218
DECTIME -0.22635 0.16352 -1.384 0.1409
DECTIME2 1.42491 0.32173 4.429 0.0000
sin.DECTIME -0.77551 0.45190 -1.716 0.0694
cos.DECTIME 0.54254 0.42376 1.280 0.1726
AMLE Regression Statistics
Residual variance: 0.6681
R-squared: 95.83 percent
G-squared: 165.3 on 6 degrees of freedom
P-value: <0.0001
Prob. Plot Corr. Coeff. (PPCC):
r = 0.9811
p-value = 0.0925
Serial Correlation of Residuals: 0.1833
Variance Inflation Factors:
VIF
lnQ 2.361
lnQ2 1.342
DECTIME 1.255
DECTIME2 2.324
sin.DECTIME 2.707
cos.DECTIME 2.673
Comparison of Observed and Estimated Loads
------------------------------------------
Summary Stats: Loads in kg/d
---------------------------------------------
Min 25% 50% 75% 90% 95% Max
Est 0 0.01 0.14 3.14 23.4 71.7 105.0
Obs 0 0.00 0.20 3.43 25.8 44.4 55.6
Bias Diagnostics
----------------
Bp: 37.58 percent
PLR: 1.376
E: 0.2804